## Info and Assumptions
Consumption:
Gas Demand is 165 000kWh annually. This heat is supplemented in the winter with plug in radiators
Heat loss calcs estimate heat demand to be 196 000 kWh p.a. which tallies well with the statement above.
Our models estimate that the heat pumps will provide the cheapest heating down to 4 degrees ambient temperature or 148 000kWh p.a.
We have assumed consumption to fall by 36% as a building management system and heat transfer solution are installed .
At the same time zoning and better heat transfer will allow the heat pumps to do more of the heavy lifting in winter so
we have estimated that the heat pumps will managed 112 500 of demand.
ROI and savings
Investors will be paid 3% for investing in the share offer.
The 1.91% IRR will flow into CREW Energy for administartion of the share offer and O&M response.
Devas Club will save £962 per annum basis current electricity and gas contracts index linked over 20 years.

## Project IRR
| Project cost | 43268.2 | Borrowing rate | 3%
| Consumption kWh | 125000 | Repayment starting year | 3 |  |  | Project IRR | 3.362%
| RHI p/kWh | 2.79 | Client charge £/kWh | 0.015
| CPI | 2% | Project Raise | 50000
| Heat pump | 90% | Project Buffer | 6731.8
| RHI Income | Client charge | Repayment | Debt | Interest | O&M | Cashflow
-43268.2
1 | 3138.75 | 8606.8 | 0 | 50000 | 1500 | 100 | 10145.55
2 | 3201.525 | 1912.5 | 0 | 50000 | 1500 | 102 | 3512.025
3 | 3265.5555 | 1950.75 | 2777.7778 | 47222.2222 | 1416.6667 | 104.04 | 917.8211
4 | 3330.8666 | 1989.765 | 2777.7778 | 44444.4444 | 1333.3333 | 106.1208 | 1103.3997
5 | 3397.4839 | 2029.5603 | 2777.7778 | 41666.6667 | 1250 | 108.2432 | 1291.0232
6 | 3465.4336 | 2070.1515 | 2777.7778 | 38888.8889 | 1166.6667 | 110.4081 | 1480.7326
7 | 3534.7423 | 2111.5545 | 2777.7778 | 36111.1111 | 1083.3333 | 112.6162 | 1672.5695
8 | 3605.4371 | 2153.7856 | 2777.7778 | 33333.3333 | 1000 | 114.8686 | 1866.5764
9 | 3677.5459 | 2196.8613 | 2777.7778 | 30555.5556 | 916.6667 | 117.1659 | 2062.7968
10 | 3751.0968 | 2240.7986 | 2777.7778 | 27777.7778 | 833.3333 | 119.5093 | 2261.275
11 | 3826.1187 | 2285.6145 | 2777.7778 | 25000 | 750 | 121.8994 | 2462.0561
12 | 3902.6411 | 2331.3268 | 2777.7778 | 22222.2222 | 666.6667 | 124.3374 | 2665.1861
13 | 3980.6939 | 2377.9534 | 2777.7778 | 19444.4444 | 583.3333 | 126.8242 | 2870.712
14 | 4060.3078 | 2425.5124 | 2777.7778 | 16666.6667 | 500 | 129.3607 | 3078.6818
15 | 4141.514 | 2474.0227 | 2777.7778 | 13888.8889 | 416.6667 | 131.9479 | 3289.1443
16 | 4224.3442 | 2523.5031 | 2777.7778 | 11111.1111 | 333.3333 | 134.5868 | 3502.1494
17 | 4308.8311 | 2573.9732 | 2777.7778 | 8333.3333 | 250 | 137.2786 | 3717.748
18 | 4395.0078 | 2625.4527 | 2777.7778 | 5555.5556 | 166.6667 | 140.0241 | 3935.9918
19 | 4482.9079 | 2677.9617 | 2777.7778 | 2777.7778 | 83.3333 | 142.8246 | 4156.9339
20 | 4572.5661 | 2731.5209 | 2777.7778 | 0 | 0 | 145.6811 | 4380.6281
Total | 76263.3695 | 52289.3684 | 50000 |  | 15750 |  | 60373.0008
128552.7378

## Client savings
Annual cost comparion electricty versus gas
| Heating System | Running costs |  | Base Data
| ASHP | 0.042553 |  | Electricty price | 0.16
| GCH | 0.066107 |  | ASHP COP | 3.76
|  |  |  | Gas price | 0.059496
| ASHP Saving | 0.023553 |  | Boiler efficiency | 90%
| Heat charge perkWh | 0.015 |  | Consumption | 125000 | kWh
| Client saving rate | 0.0085535 |  | Gas Demand | 165918
| ASHP heat | 112500 | kWh
| Client savings | 962.266
| Client savings % | 9.723%

## Gas Demand
|  |  | Monthly gas | Monthly
|  |  | consumption (kWh) | Spend
Gas Rate | 5.9646 | 2020-01-18 | 25663 | 1530.6953
|  | 2019-02-18 | 23312 | 1390.4676
|  | 2018-03-18 | 32989 | 1967.6619
|  | 2017-04-18 | 12721 | 758.7568
|  | 2016-05-18 | 2552 | 152.2166
|  | 2015-06-18 | 614 | 36.6226
|  | 2014-07-18 | 531 | 31.672
|  | 2013-08-18 | 599 | 35.728
|  | 2012-09-18 | 668 | 39.8435
|  | 2011-10-18 | 16693 | 995.6707
|  | 2010-11-18 | 24846 | 1481.9645
|  | 2020-12-18 | 24730 | 1475.0456
9896.345
|  | Total Demand (TD) | 165918

## Carbon Savings
Demand | 125000 |  | Gas CO2 | 0.184
|  |  | Boiler efficiency | 90%
CO2 savings p.a. | 17.2341 | tonnes | Gas factor | 0.20444
|  |  | Electricty CO2 | 0.233
|  |  | HP effeiciency | 3.5
|  |  | HP Factor | 0.066571
|  |  | HP savings factor | 0.13787